Table of Contents

List of Tables	iii

List of Figures	iii

List of Appendices	iii

List of Attachments	iii

Closure Certification	v

Professional Engineer’s Certification	v

Owner's Certification	vi

1 Introduction	1

1.1 Site History	1

1.1.1 Site Description	1

1.1.2 Site Ownership	1

1.1.3 RCRA Closure	1

1.2 Former Wastewater Treatment Plant Background	2

1.2.1 Basin Investigation Report	3

Soil	3

Groundwater	4

1.2.2 2008 Addendum Report	4

Summary of Subsurface Conditions	5

First Quarter Groundwater Sampling Results	5

Second Quarter Groundwater Sampling Results	6

Third Quarter Groundwater Sampling Results	6

Fourth Quarter Groundwater Sampling Results	7

2008 Addendum Report Conclusion	7

1.2.3 Facility Response to MDEQ Comments to the 2008 Addendum Report	7

1.3 Contaminant Distribution	9

1.4 Applicable Closure Criteria	9

2 Summary of Former WWTP Investigation	11

2.1 Monitoring Well Installation	11

2.2 Groundwater Sample Collection and Analysis	11

2.3 Data Validation	12

2.4 Investigation Results	13

2.4.1 Summary of Subsurface Conditions	13

2.4.2 First Quarter Groundwater Sampling Results	14

2.4.3 Second Quarter Groundwater Sampling Results	14

2.4.4 Site-Specific Background Value for Manganese	14

3 Migration Pathway Evaluation	15

3.1 Migration Pathway Evaluation	15

4 Conclusions	18

5 References	19

# List of Tables

Table 1 	Groundwater Analytical Results – November 2011 and April 2012

Table 2 	Groundwater Elevation Data

# List of Figures

Figure 1  	Site Location Map

Figure 2  	Site Plan

Figure 3  	Monitoring Well Locations

Figure 4  	Geologic Cross Section

Figure 5  	Groundwater Sampling Exceedances 2011 Investigation

Figure 6   	Groundwater Elevations April 5, 2012

Figure 7	Groundwater Delineation Wells

# List of Appendices

Appendix A  	Former Wastewater Treatment Plant Basin Investigation Analytical Results

Appendix B  	Former Wastewater Treatment Plant Addendum to the June 1999 Closure Certification Report 			Analytical Results

Appendix C  	ProUCL Site-Specific Background Calculations for the Former WWTP

Appendix D  	Soil Boring Logs

Appendix E  	Monitoring Well Construction Details

Appendix F	Data Validation Report – November 1, 2011

Appendix G 	Data Validation Report – April 5, 2012

# List of Attachments

Attachment A   	MDEQ Comments on September 12, 2008, Addendum to the June 1999 Closure Certification 		Report for the Former WWTP at the Coldwater Road Landfill Facility

Attachment B   	Response to Comments – Addendum to the June Closure Certification Report for the Former 	Wastewater Treatment Plant

Attachment C   	Acceptance of Response to Resource Management Division (RMD) March 24, 2009, letter 			comments on the Addendum to the June 1999 Closure Certification Report for the Former 			WWTP at the Coldwater Road Landfill Facility

List of Acronyms

| CACO | Corrective Action Consent Order |
| --- | --- |
| CLP | Contract Laboratory Program |
| COCs | Chemicals of Concern |
| CRA | Conestoga-Rovers & Associates |
| fbg | Feet below grade |
| GC/MS | Gas Chromatograph/Mass Spectrometer |
| GM | General Motors |
| GSI | Groundwater-Surface Water Interface |
| GWNIAA | Groundwater Not In An Aquifer |
| HSA | Hollow Stem Auger |
| ICP | Inductively Coupled Plasma |
| MDEQ | Michigan Department of Environmental Quality |
| MDL | Method Detection Limit |
| MLC | Motors Liquidation Corporation |
| NREPA | Natural Resources and Environmental Protection Act |
| ppb | Parts per billion |
| QA/QC | Quality Assurance/Quality Control |
| QAPP | Quality Assurance Project Plan |
| RCRA | Resource Conservation and Recovery Act |
| RMA | Remaining Materials Area |
| RRD | Remediation and Redevelopment Division |
| SAP | Sampling and Analysis Plan |
| SOP | Standard Operating Procedure |
| SVOCs | Semi-Volatile Organic Compounds |
| SWMU | Solid Waste Management Unit |
| TDL | Target Detection Limit |
| USEPA | United States Environmental Protection Agency |
| VOCs | Volatile Organic Compounds |
| WHMD | Waste and Hazardous Material Division |
| WWTP | Wastewater Treatment Plant |

# Closure Certification

This section presents the certification statement as required by 40 CFR 264.115 and Part 111, Hazardous Waste Management, of the Natural Resources and Environmental Protection Act, 1994 PA 451, as amended (Act 451), Mich. Admin. Code Rule 299.9613(2).

## Professional Engineer’s Certification

I, Scott L. Cormier, a Professional Engineer in the State of Michigan, certify under penalty of law that this document and attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

O'BRIEN & GERE ENGINEERS, INC.

_____ ________________________

Scott L. Cormier, PE

Vice President

## Owner's Certification

I, David Favero, representing RACER Trust certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

RACER Trust

_____ ________________________

David Favero

Deputy Cleanup Manager- Michigan

# 1 Introduction

This Addendum to the June 1999 Closure Certification Addendum Report for the Former Wastewater Treatment Plant (WWTP) at the Coldwater Road Facility (2013 Addendum Report) documents final closure of the former WWTP at the RACER Trust Coldwater Road Landfill facility in Flint, Michigan.

## 1.1 Site History

### 1.1.1 Site Description

The RACER Trust Coldwater Road Landfill facility is located north of the RACER Trust former Peregrine U.S., Inc. (RACER Trust former Peregrine property) property as shown on the Site Location Map, Figure 1. The RACER Trust Coldwater Road Landfill facility consists of the wastewater treatment sludge monofill landfill, former WWTP (decommissioned and demolished in 1999), restored wetlands, and leachate accumulation facility. This facility is bordered on the south by the RACER Trust former Peregrine property, which formerly contained several manufacturing buildings and support facilities. The buildings on the RACER Trust former Peregrine property were decommissioned and demolished between 1999 and 2001. A figure depicting the division between the RACER Coldwater Road Landfill facility and the RACER Trust former Peregrine property is included as Figure 2.

### 1.1.2 Site Ownership

On December 10, 1996, an asset Purchase Agreement for the manufacturing portion of the Coldwater Road site, which is now referred to as the "RACER Trust former Peregrine property, MID 000 020 743", was signed by General Motors (GM) and Peregrine. GM retained ownership of the northern portion, which is now referred to as the "RACER Trust Coldwater Road Landfill facility MID 005 356 860" and sold the manufacturing facility (Former Peregrine Property). In August 1999, REALM (a wholly owned subsidiary of GM) took back ownership of the manufacturing facility from Peregrine. In April 2000 a MDEQ Notification of Regulated Waste Activity form (EQP5150) and United States Environmental Protection Agency (USEPA) Hazardous Waste Permit Application Part A (USEPA form 8700-23) were submitted to document change of ownership of the landfill and the former WWTP property from GM to REALM. REALM, a wholly-owned subsidiary of GM, managed the Resource Conservation and Recovery Act (RCRA) closure program for the REALM Coldwater Road Landfill facility under the 1992 Corrective Action Consent Order (CACO) until REALM filed for bankruptcy in October 2009 at which time Motors Liquidation Company (MLC), which was the former GM, assumed management of the property. The RACER Trust was created on March 31, 2011 by the U.S. Bankruptcy Court to clean up and position for redevelopment properties and facilities owned by the former GM and its subsidiaries. The Coldwater Road Landfill facility (including the former WWTP) and the former Peregrine property were two of the properties assigned to the RACER Trust. The RACER Trust currently manages the RCRA closure program for the Coldwater Road Landfill facility under the 1992 CACO.

### 1.1.3 RCRA Closure

Several of the RCRA units and Solid Waste Management Units (SWMUs) were closed in accordance with the 1989 Closure Plan during construction of the on-site hazardous waste landfill between 1990 and 1994. Roy F. Weston, Inc. (Weston) provided quality assurance oversight and closure verification during this construction phase. As documented in the Draft Closure Certification Documentation Package (Weston, November 1994), there were several units not closed at the completion of landfill construction. Closure of these remaining units was completed between 1994 and 2003 with oversight provided by O'Brien & Gere. Closure documentation for all units covered under the CACO for the RACER Trust Coldwater Road Landfill facility is provided in the following seven final closure reports:

Final Closure Certification Documentation Package -Decontamination Pits and Sump, Chromium Reduction Basins at the WWTP, September 1998, Roy F. Weston, Inc. (Weston).

Subsurface Investigation of Decontamination Pits/Sump and Chromium Reduction Basins Report, June 1999, O'Brien & Gere Engineers, Inc. (O'Brien & Gere).

Final Closure Certification, former Drum Storage Area and Waste Pile Pad, June 1999, Weston.

Part I - Final Closure Certification Documentation, November 2000, O'Brien & Gere and subsequent data submittals.

Part II - Final Closure Certification Documentation, November 2000, Weston and subsequent data submittals.

Addendum to the June 1999 Closure Certification Report for the Former Drum Storage Area at the Former Peregrine, U.S., Inc. Property at the Coldwater Road Facility. January 2005, O’Brien and Gere.

Addendum to the June 1999 Closure Certification Report for the Former Drum Storage Area at the Former Peregrine, U.S., Inc. Property at the Coldwater Road Facility. September 2008, O’Brien and Gere.

- The former WWTP was not listed in the 1992 CACO for the Site. The regulatory background for the WWTP is discussed in Section 1.2.

## 1.2 Former Wastewater Treatment Plant Background

The former WWTP at the Coldwater Road Landfill facility is located at the southwestern corner of the property as shown on Figure 2 (Site Plan). The WWTP was constructed in the early 1950s to treat plating waste streams as generated by the manufacturing facility. Plating operations ran from 1953 to 1987. Process wastewater from the former manufacturing plant discharged to the former WWTP in force mains. Chemical/physical treatment of the process wastewater was performed at the former WWTP on a batch basis. The chromium, nickel, and acid/alkali wastes were combined and treated for heavy metal removal, whereas the copper-cyanide waste was treated separately.

Use of the WWTP was terminated in December 1996 when the manufacturing plant was sold to Peregrine, Inc. The WWTP building and associated basins were subsequently decontaminated and demolished between December 1998 and May 1999.

Concurrent to WWTP demolition, REALM voluntarily implemented an investigation at the former WWTP to evaluate potential releases from the surrounding basins. The former WWTP basin investigation was performed in accordance with procedures outlined in O'Brien & Gere's January 1999 Quality Assurance Project Plan (QAPP) and Three Basement Basin Sampling and Analysis Plan (SAP) developed for the Coldwater Road facility. The basin investigation was performed between September 1998 and May 1999. It should be noted that during this investigation three soil borings were proposed to be monitoring wells. However, wet subsurface soil conditions were not observed during soil boring installation, therefore no wells were installed.

The basin investigation included collection of subsurface soil samples underneath and around the former WWTP and surrounding basins, concrete samples from the basins and former WWTP basement floor, rinsate samples, and groundwater samples from two existing monitoring wells (MW-11 and MW12) located southwest of the former WWTP. The former WWTP layout and previous soil sample locations are shown on Figure A-1 in Appendix A. Results of the basin investigation were reported to the MDEQ in the Former WWTP Basin Investigation Report dated November 2000. The analytical results summary tables from the Basin Investigation Report are included in Appendix A. The results supported closure approval and no further action for the former WWTP basins and surrounding area. However, in a letter from the MDEQ Waste and Hazardous Material Division (WHMD) dated March 24, 2005, the MDEQ did not extend the "no further action" determination to the former WWTP. The MDEQ indicated that the no further action did not meet the requirements specified in Parts 111 and 201, specifically, the dissolved lead in groundwater was not delineated. The dissolved lead in groundwater analytical results from the WWTP basin investigation area are included in Appendix A, on page 5 of Table 1. A detailed discussion of the Basin Investigation Report is included in Section 1.2.1.

A Work Plan was prepared and submitted to the MDEQ in April 2006, which addressed the issues raised by the MDEQ in their March 24, 2005 letter. The Work Plan proposed investigating the concentrations of dissolved lead in groundwater at the former WWTP. The MDEQ reviewed the Work Plan and after minor modifications were included, the Work Plan was approved in a letter dated January 26, 2007. Results of the December 2006 Work Plan investigation were reported to the MDEQ in the 2008 Addendum Report dated September 2008. The analytical results summary tables from the 2008 Addendum Report are included in Appendix B. The results supported closure approval and no further action for the former WWTP basins and surrounding area. However, in a letter from the MDEQ WHMD dated March 24, 2009, the MDEQ did not extend the "no further action" determination to the former WWTP. The MDEQ comments to the 2008 Addendum Report indicated that several issues remained unresolved; specifically, that the dissolved iron and manganese in groundwater were not delineated horizontally, and that one of the report’s conclusions, that shallow groundwater at the site was not in an aquifer, could not be supported unless that designation is formally approved through submittal of a Groundwater Not In An Aquifer (GWNIAA) Determination. Additionally, in a teleconference call on May 4, 2009, the MDEQ expressed concern that volatile organic compounds (VOCs) in soil were not delineated vertically. A detailed discussion of the 2008 Addendum Report is included in Section 1.2.2.

A response to MDEQ comments on the 2008 Addendum Report was submitted to the MDEQ July 13, 2009 which addressed the GWNIAA issue and two of the three delineation concerns (iron and VOCs) that were raised by the MDEQ. The July 13, 2009 response also proposed an additional investigation to address the third delineation concern (dissolved manganese in groundwater). The MDEQ approved the response to their comments and approved the additional investigation in a letter dated September 26, 2011.

Section 1.2.3 of this 2013 Addendum Report summarizes the MDEQ comments to the 2008 Addendum Report and the response to those comments. Section 2.0 presents the results of the additional investigation. MDEQ comments to the 2008 Addendum Report are included in Attachment A, the July 13, 2009 response to MDEQ comments are included in Attachment B, and the MDEQ’s letter accepting the response to comments (dated September 26, 2011) is included as Attachment C.

### 1.2.1 Basin Investigation Report

The COCs for soil and groundwater at the former WWTP identified through the Basin Investigation Report (November 24, 2000) were as follows:

| Soil | Groundwater |
| --- | --- |
| Benzene | Lead (dissolved) |
| Cyanide |  |
| Nickel |  |
| 1,2,4- trimethylbenzene |  |
| Trichloroethene |  |

A summary of the Basin Investigation Report results follow:

#### Soil

Subsurface soil sample analytical results from the initial Basin Investigation Report indicated semi-volatile organic compounds (SVOCs) below the MDEQ Part 201 Generic Residential and Non-Residential Drinking Water Protection Criteria. The analytical results for the subsurface soil samples indicate concentrations of benzene, trichloroethene, 1,2,4-trimethylbenzene, nickel and cyanide above MDEQ Part 201 Generic Residential and Non-Residential Drinking Water Protection Criteria.

Benzene was detected at a concentration of 200 parts per billion (ppb) in the soil sample from GB-18, located in the central deionized water basin. Trichloroethene was detected in two soil sample locations: GB-44 (west basement basin) and GB-47 (south of west basement basin), at concentrations of 570 ppb and 770 ppb respectively. Also, 1,2,4-trimethylbenzene was detected in two soil sample locations: GB-20 (east cyanide basin) at 3,120 ppb and GB-21 (west cyanide basin) at 2100 ppb.

Methylene chloride was detected in samples GB-42 through GB-47 above the MDEQ Generic Residential and Non-Residential Drinking Water Protection criteria; however, the results of these samples indicated methylene chloride was detected in the laboratory blanks and should be considered blank contamination. Also, the vinyl chloride detection limit achieved by the laboratory is above the MDEQ Part 201 Generic Residential and Non-Residential Drinking Water Protection criteria; however, these detections are half of the Target Detection Limit (TDL) for method 5035/8260 (methanol preservation) listed in the Environmental Response Division (ERD) former Operational Memorandum #6, revision 5, dated November 16, 1998, the guidance at the time of investigation.

Nickel and cyanide concentrations were detected above the MDEQ Part 201 Generic Residential and Non-Residential Drinking Water Protection criteria in the following samples:

Nickel - GB-39 (WWTP basement floor north)

Cyanide - GB-25 (west alkali basin)

Tables summarizing the soil analytical results from the Basin Investigation Report are included in Appendix A and a figure depicting historical sample locations and MDEQ Part 201 criteria exceedances is included in Appendix A as Figure A-1.

#### Groundwater

Groundwater samples collected for the Basin Investigation Report were analyzed for VOCs, SVOCs, dissolved metals (cadmium, chromium, copper, lead, nickel, and zinc), and cyanide during the initial basin investigation. The results of the VOCs, SVOCs and cyanide analyses were below detection limits.

The results of the dissolved metals analyses were below Part 201 Generic Residential Drinking Water criteria, except for dissolved lead which was present at concentrations of 8 ppb in OBG MW-1 (duplicate value of 9 ppb), and in OBG MW-2 at 32 ppb.

Tables summarizing the groundwater analytical results from the Basin Investigation Report are included in Appendix A and a figure showing the locations of the monitoring wells and MDEQ Part 201 criteria exceedances is included as Figure A-2 in Appendix A.

Results of the basin investigation were reported to MDEQ in the Former WWTP Basin Investigation Report dated November 2000. However, MDEQ did not extend a ‘no further action’ determination to the former WWTP on the basis of the Basin Investigation report and previous closure certification submittals. MDEQ indicated that the ‘no further action’ did not meet the requirements specified in Parts 111 and 201, specifically, the dissolved lead in groundwater was not delineated and that the potential impact of COCs in soil were not completely addressed. Therefore, a work plan was developed (as noted in Section 1.2) and implemented to address MDEQ comments. The results of that investigation are included in the 2008 Addendum Report (Section 1.2.2).

### 1.2.2 2008 Addendum Report

This section describes results of the groundwater sampling and analysis conducted in the vicinity of the former WWTP. Sampling and analysis was conducted in accordance with procedures outlined in the MDEQ-approved Post-Closure Care Plan (PC Plan) (O'Brien & Gere, 2006), MDEQ-approved December 2006 Work Plan for the former WWTP and February 2006 QAPP developed for the REALM Coldwater Road Landfill facility. The objective of the investigation was to assess the extent of COCs impact to groundwater and assess the potential for previously detected constituents in soil to leach to groundwater.

O'Brien & Gere completed investigation of the former WWTP in a phased approach following MDEQ approval of the Work Plan. Initially the installation of monitoring wells was performed in May 2007 and subsequent groundwater monitoring was performed quarterly for one year (June 19, 2007 through March 18, 2008).

Groundwater samples were collected quarterly for four quarters using low-flow sampling methods per Attachment 5 of the MDEQ Remediation and Redevelopment Division (RRD) Operational Memorandum No. 2, in accordance with the MDEQ-approved PC Plan and December 2006 Work Plan. In accordance with the December 2006 Work Plan, notifications to MDEQ were made 2 weeks prior to each groundwater sampling event via the Monthly Progress Reports submitted under the Post-Closure activities at the Site. The following discussions summarize the results of the quarterly groundwater monitoring program.

#### Summary of Subsurface Conditions

This section describes the subsurface conditions observed based on the installation of the monitoring wells (shown on Figure 3) and previously installed hydraulic probe borings at the former WWTP.

Subsurface soil conditions at the former WWTP consist of a clay unit from the original ground surface to a depth of 30 ft below grade with sand lenses observed ranging in thickness from non-existent (OBG MW-8) to 5 ft (OBG MW-5). The elevations shown on Table 1.1 below indicate that the sand lenses vary in elevation indicating a discontinuous perched zone condition at the former WWTP.

Table 1.1 Sand Lens Elevations

| Well Location | Surface Elevation (NAVD 88) | Observed Sand Lense Elevation |
| --- | --- | --- |
| OBG MW-1 | 809.46’ | 798.46-796.46' |
| OBG MW-2 | 812.45’ | 806.95-805.45' and 799.45-796.45' |
| OBG MW-3 | 807.47’ | 802.97-799.97' |
| OBG MW-4 | 810.10’ | 797.85-797.35' |
| OBG MW-5 | 813.05’ | 809.05-804.05' |
| OBG MW-6 | 813.02’ | 798.44-798.27' |
| OBG MW-7 | 810.23’ | 805.65-805.23' and 795.23-794.23' |
| OBG MW-8 | 814.72’ | no sand lense observed |

Sand lenses were observed in seven of the eight borings (OBG MW-1 – OBG MW-7) completed as monitoring wells under this investigation at the former WWTP. These locations are separated by previously installed borings in which a sand lens of the same elevation was not observed indicating the sand lenses are discontinuous in the vicinity of the former WWTP. A geologic cross section depicting the discontinuous sand lenses in the perched zone at the former WWTP area is included as Figure 4.

Following demolition of the former WWTP, approximately 3-4 ft of sand fill (offsite clean fill deemed inert by the supplier in accordance with NREPA Act 4512, Part 201) was placed over the former WWTP building and basins.

#### First Quarter Groundwater Sampling Results

Analytical results for the first quarter groundwater sampling event, performed in June 2007 and reported in the 2008 Addendum Report, indicated no detections of VOCs above MDEQ Part 201 Generic Non-Residential Drinking Water criteria. Analytical results for the inorganics indicated a detection of total lead at OBG MW-5 of 0.140 mg/l, which is above the MDEQ Part 201 Generic Non-Residential Drinking Water criterion (.004 mg/l). The analytical result for dissolved lead at this location was below the method detection limit (MDL). Also, at the OBG MW-5 location, there was a detection of cyanide of 0.295 mg/l, which is above the MDEQ Part 201 Generic Non-Residential Drinking Water criterion (0.200 mg/l). A table summarizing the first quarter groundwater analytical results is included as Table 1 in Appendix B.

#### Second Quarter Groundwater Sampling Results

Analytical results for the second quarter groundwater sampling event (September 2007) indicated no concentrations of VOCs above the MDEQ Part 201 Generic Non-Residential Drinking Water Criteria, comparable to the first quarter sampling results. Analytical results for the inorganics indicate concentrations for total chromium, total nickel and total lead either below MDLs or MDEQ Part 201 Generic Non-Residential Drinking Water Criteria. No dissolved samples were collected for this sampling event in accordance with the Work Plan since groundwater turbidity did not stabilize above 10 NTU. Analytical results for total cyanide indicate no concentrations above MDEQ Part 201 Generic Non-Residential Drinking Water Criteria.

A table summarizing the 2008 Addendum Report second quarter groundwater analytical results is included as Table 3 in Appendix B.

During the second quarter sampling event, the MDEQ WHMD collected split groundwater samples (at locations OBG MW-5, OBG MW-7 and OBG MW-8) for laboratory analysis. In addition to the parameters approved under the December 2006 Work Plan, MDEQ also ran analysis for the following parameters (totals): antimony, arsenic, barium, beryllium, cadmium, cobalt, copper, manganese, molybdenum, mercury, selenium, silver, thallium, vanadium, zinc and iron. The results of the MDEQ analysis indicated concentrations of total arsenic, iron and manganese above the MDEQ Part 201 Generic Non-Residential Drinking Water Criteria. Therefore, a Work Plan Amendment was prepared and submitted to MDEQ on January 8, 2008 which included adding these parameters to the analytical list for the remaining third and fourth quarter groundwater sampling events.

#### Third Quarter Groundwater Sampling Results

Based on the results of the MDEQ split groundwater sampling during the second quarterly sampling event, additional parameters (arsenic, iron and manganese) were added to the third quarter sampling parameter list in accordance with the MDEQ-approved January 8, 2008 Amendment to the Work Plan.

Analytical results for the third quarter groundwater sampling event (December 2007) indicate no concentrations of VOCs above the MDEQ Part 201 Generic Non-Residential Drinking Water Criteria, comparable to the first and second quarterly sampling results. Analytical results for the inorganics indicate concentrations for total arsenic, total chromium, total nickel and total lead either below MDLs or MDEQ Part 201 Generic Non-Residential Drinking Water Criteria.

Groundwater analytical results indicated concentrations above the MDEQ Part 201 Non-Residential Drinking Water Criteria as follows:

Total iron for the monitoring wells sampled during this event (OBG MW-1 through OBG MW-8)

Total manganese for the groundwater monitoring well groundwater samples analyzed, except for OBG MW-7.

In addition to a groundwater sample collected for total analysis, a dissolved groundwater sample was collected from OBG MW-5 due to the groundwater turbidity not stabilizing above 10 NTU. Analytical results for the dissolved metals analysis indicate concentrations of dissolved chromium, dissolved lead and dissolved nickel either below MDLs or MDEQ Part 201 Generic Non-Residential Drinking Water Criteria. Analytical results for dissolved arsenic, dissolved iron and dissolved manganese indicate concentrations above MDEQ Part 201 Generic Non-Residential Drinking Water Criteria. Analytical results for total cyanide indicate no concentrations above MDEQ Part 201 Generic Non-Residential Drinking Water Criteria.

A summary of the 2008 Addendum Report third quarter groundwater analytical results is included as Table 4 in Appendix B.

#### Fourth Quarter Groundwater Sampling Results

Analytical results for the fourth quarter groundwater sampling event (March 2008) indicate no concentrations of VOCs above MDEQ Part 201 Generic Non-Residential Drinking Water Criteria. Fourth quarter groundwater sample results are comparable to the previous three quarterly sampling results. Analytical results for the inorganics indicate concentrations for total arsenic, total chromium, total nickel, total lead and cyanide either below MDLs or MDEQ Part 201 Generic Non-Residential Drinking Water Criteria. Groundwater analytical results also indicate concentrations above MDEQ Part 201 Non-Residential Drinking Water Criteria as follows:

Total iron for monitoring well groundwater samples from OBG MW-3, OBG MW-5, OBG MW-6 and OBG MW-7

Total manganese for the monitoring wells sampled during this event.

A dissolved groundwater sample was also collected from OBG MW-5 due to the groundwater turbidity stabilizing above 10 NTU. Analytical results for the dissolved metals analysis indicate concentrations of dissolved arsenic, chromium, dissolved iron, dissolved lead and dissolved nickel either below MDLs or MDEQ Part 201 Generic Non-Residential Drinking Water Criteria. Analytical results for dissolved manganese indicate concentrations above MDEQ Part 201 Generic Non-Residential Drinking Water Criteria.

Analytical results for total cyanide indicate no concentrations above MDEQ Part 201 Generic Non-Residential Drinking Water Criteria.

A table summarizing the 2008 Addendum Report fourth quarter groundwater analytical results is included as Table 5 in Appendix B.

#### 2008 Addendum Report Conclusion

Based on the previous soil analytical results and the quarterly groundwater sampling results included in the 2008 Addendum Report indicating concentrations of arsenic, iron, lead, manganese and cyanide above Part 201 Generic Non-Residential Drinking Water Criteria, a migration pathway analysis was performed. Since the migration pathways applicable to the soil impacts at the former WWTP were addressed in the November 2000 Basin Investigation Report, the 2008 Addendum Report addressed the pertinent groundwater migration pathways.

Based on the evaluation of the pertinent groundwater migration pathways for the former WWTP and closure activities presented previously for the former WWTP, the 2008 Addendum Report concluded that closure of the former WWTP pursuant to the NREPA Part 111 had been achieved. MDEQ provided comments on the 2008 Addendum Report in a letter dated March 24, 2009 (Attachment A). MDEQ comments noted that the report did not demonstrate that closure had been achieved. MDEQ indicated that final closure of the area could not occur until it was documented that the extent of impact on-site was assessed. Specifically the letter noted that the dissolved iron and manganese in groundwater was not delineated horizontally, and that one of the report’s conclusions, that shallow groundwater at the site was not in a aquifer, could not be supported unless that designation is formally approved through submittal of a GWNIAA Determination. Additionally, in a teleconference call on May 4, 2009, MDEQ expressed concern that VOCs in soil were not delineated vertically. MDEQ comments to the 2008 Addendum Report are included as Attachment A.

REALM responded to the MDEQ comments in a submittal dated July 13, 2009. The response to MDEQ comments are summarized below in Section 1.2.3 and are also included as Attachment B.

### 1.2.3 Facility Response to MDEQ Comments to the 2008 Addendum Report

MDEQ provided comments to the 2008 Addendum Report in a letter dated March 24, 2009 (Attachment A) and also in a teleconference call conducted on May 4, 2009. MDEQ indicated that the dissolved iron and manganese in groundwater were not delineated horizontally, and that one of the report’s conclusions, that shallow groundwater at the site was not in an aquifer, could not be supported unless that designation is formally approved through submittal of a GWNIAA Determination. Additionally, in the teleconference call on May 4, 2009 MDEQ expressed concern that VOCs in soil were not delineated vertically. A response to the MDEQ comments on the 2008 Addendum Report was submitted to MDEQ in a letter dated July 13, 2009 (Attachment B).

The following summarize the response to the MDEQ comments:

Iron in Groundwater. Section R 299.5707, R299.5706a(5)(b) of the MI Part 201 regulations allows for a background concentration to be substituted for the generic cleanup criterion when the cleanup criterion is less than background. Therefore, background values were calculated for iron in groundwater at the former WWTP area. The background groundwater quality for iron was determined from the historical Coldwater Road Landfill Site (on-site) monitoring well data (dissolved concentrations). The background groundwater quality for iron was determined in accordance with MDEQ Sampling Strategies and Statistics Training Materials for Part 201 Cleanup Criteria 2002 (S3TM). The background threshold value for iron was calculated as 1.73 mg/l (Exhibit A to the July 13, 2009 response to comments in Attachment B of this report).

A table included in the response to comments summarized the iron groundwater results from the last two quarters of the quarterly sampling program (December 2007 and March 2008) compared to the site-specific background values and MDEQ Residential Health-Based Drinking Water criteria. The comparison that the results of the quarterly groundwater sampling program at the former WWTP are below the site-specific background concentration for iron, except for one sample collected during the December 2007 sampling event at well OBG MW-3 (1.78 mg/l). However, this detection of iron is below the Health-Based Drinking Water criterion (2.0 mg/l). Therefore, no additional sampling or investigation was necessary to assess the extent of iron detected in groundwater at the former WWTP area.

Manganese in Groundwater. Background values were calculated for manganese in groundwater at the former WWTP area in accordance with the rationale for iron. The background threshold value for manganese was calculated as 1.31 mg/l (Exhibit B to the July 13, 2009 response to comments in Attachment B).

One well location (OBG MW-3) exhibited concentrations of manganese above the calculated background concentration for the last two quarterly sampling events included in the 2008 Addendum Report. The July 13, 2009 response to comments proposed that potential off-site exposure would be addressed through the installation and sampling of two monitoring wells at the west property boundary to determine the concentrations of manganese in groundwater.

It was further noted that if the results indicate manganese concentrations were below the site-specific background thus indicating that off-site migration was not occurring, closure of the area would be pursued through an Addendum to the Closure Certification Report. The site deed restriction would be expanded to prohibit use of the groundwater at the entire site, including the former WWTP area. The current Declaration of Restrictive Covenant prohibits the construction of wells or other devices to extract groundwater for consumption, irrigation, dewatering or any other use at two areas of the Coldwater Road Landfill Site: the Remaining Materials Area (RMA) and the landfill.

Groundwater Not in an Aquifer. As noted in the July 13, 2009 response to comments, the facility will not rely on a GWNIAA determination for Site closure, but instead document that there are no exceedances of the Residential Health-Based Drinking Water Criteria or site-specific background values at the western property boundary, thus demonstrating no off-site exposure (i.e., drinking contaminated groundwater) issues.

Volatile Organic Compounds at Well OBG MW-5. MDEQ recommended a deep monitoring well be installed at the site to assess the potential vertical extent of VOC impact to groundwater. The Natural Resources and Environmental Protection Act (NREPA), 1994 PA 451 R299.5528 states that a remedial investigation shall define the nature and extent of contamination in excess of the applicable generic residential cleanup criteria. No VOCs were detected at OBG MW-5 (or at adjacent wells OBG MW-6 or OBG MW-8) above the Generic Residential Drinking Water criteria during four rounds of quarterly sampling. Therefore, no further investigation is required under NREPA R299.5528.

In a letter dated September 26, 2011, MDEQ indicated they reviewed the July 13, 2009 response to comments regarding the 2008 Addendum Report for compliance with applicable regulations and the response to comments were acceptable and the additional investigation work could proceed.

## 1.3 Contaminant Distribution

The chemicals of concern (COCs) at the former WWTP were identified through the Basin Investigation Report (November 24, 2000) and the 2008 Addendum Report. The COCs were defined as those chemicals in which analytical results exceed MDEQ Part 201 Generic Non-Residential Drinking Water Protection Criteria for soil and the Part 201 Generic Non-Residential Drinking Water Criteria for groundwater. The following is a list of the COCs at the former WWTP:

| Soil | Groundwater |
| --- | --- |
| Benzene | Iron (total and dissolved) |
| Cyanide | Lead (dissolved) |
| Nickel | Manganese (total and dissolved) |
| 1,2,4- trimethylbenzene |  |
| Trichloroethene |  |

Sections describing the specific distribution of impact in soil and groundwater at the former WWTP are included in Section 1.2.1 (Former Basin Investigation) and Section 1.2.2 (2008 Addendum Report).

Results from the previous investigations are included as appendices to this report. Tables summarizing the soil and groundwater analytical results from the Basin Investigation Report are included in Appendix A and a figure depicting historical soil sample locations and MDEQ Part 201 criteria exceedances from the Basin Investigation Report is included in Appendix A as Figure A-1. A figure depicting groundwater locations and MDEQ Part 201 criteria exceedances from the Basin Investigation Report is included in Appendix A as Figure A-2.

Tables summarizing the analytical results for the 2008 Addendum Report are included in Appendix B. A figure depicting groundwater locations and MDEQ Part 201 criteria exceedances from the 2008 Addendum Report is included in Appendix B as Figure B-1.

## 1.4 Applicable Closure Criteria

Under the October 1992 CACO, the Coldwater Road Landfill facility had interim status pursuant to RCRA and was subject to the regulations and environmental protection standards of the Michigan Hazardous Waste Management Act, 1979 PA 64, as amended. However, following removal of a substantial volume of delisted non-hazardous soils from the Coldwater Road landfill facility, verification soil samples still exceeded the background cleanup criteria established in the 1989 Closure Plan. Therefore, GM requested modification to the 1989 Closure Plan in a letter dated April 23, 1997. The letter requested changing the 1989 Closure Plan cleanup criteria (site- specific background concentrations) to MDEQ Type B health-based cleanup criteria specified in the administrative rules promulgated pursuant to Part 201 of the NREPA, 1994, PA, as amended. This modification to the 1989 Closure Plan was approved by MDEQ in a letter dated June 26, 1998. Therefore, on-going activities at the Coldwater Road Landfill facility under the CACO follow MDEQ Part 201 cleanup criteria. Groundwater analytical results are compared to MDEQ Generic Non-Residential criteria or site-specific background values for this 2013 Addendum Report.

In a March 24, 2009 letter, MDEQ provided comments on the Addendum to the June 1999 Closure Certification Report for the Former Wastewater Treatment Plant submitted in September 2008. One of MDEQ’s comments stated the Closure Certification Report does not demonstrate the extent of manganese concentrations detected in groundwater above the drinking water criterion has been delineated. O'Brien & Gere, on behalf of REALM, submitted a response to the March 24, 2009 MDEQ letter dated July 13, 2009. This letter proposed establishing a site-specific background value for dissolved manganese using the mean plus three standard deviations with a 95% Upper Confidence Level (UCL) for log-normally distributed data following MDEQ S3TM guidance. The data set included analytical data from monitoring wells B-7, B-9, B-18A, B-19AR, B-24R and B-28 for the time period of 1998 through 2008. MDEQ approved the calculated site-specific background for dissolved manganese in a letter from MDEQ dated September 26, 2011 (Attachment C).

During the preparation of this report, the method for calculating the site-specific background for dissolved manganese was revisited based upon a request by MDEQ regarding an adjacent RACER Trust property (former Peregrine property) and the site-specific background value proposed for inorganic constituents observed in groundwater at that Site. MDEQ requested the use of Upper Tolerance Limits (UTLs) with 95% confidence and 95% coverage and using the ProUCL software program for calculating background values at the former Peregrine Site.  In review of the data set used for the 2009 background calculation at the former WWTP, it was noted that well location B-9 data was used in the data set for the site-specific background calculation. In accordance with MDEQ S3TM guidance, the B-9 well location (located on the former Peregrine property) does not meet the criteria for a background location. Therefore, a recalculation of the site-specific background for dissolved manganese, with the removal of the B-9 data and in accordance with the MDEQ request of 95% UTL with 95% coverage, was proposed to MDEQ on January 22, 2013 via email transmission. MDEQ approved the recalculation method via email transmission on January 22, 2013. The new background calculation using the MDEQ requested method yields a background value of 0.708 mg/l for dissolved manganese at the former WWTP. A copy of the ProUCL output and data set used for the background calculation for dissolved manganese is included in Appendix C.

Total manganese concentrations in groundwater will be compared to this background value due to an insufficient data set to develop a separate a background value for total manganese. MDEQ RRD Operational Memorandum No. 2- Attachment 5 (Collection of Samples for Comparison to Generic Criteria) indicates groundwater inorganic constituents must be measured as totals for site investigation under Part 201. Therefore, as a conservative measure, the total manganese concentrations were compared to the dissolved manganese site-specific background values for delineation purposes.

This new background value will be the criterion for dissolved and total manganese in groundwater for delineating the extent of impact pursuant to Part 201 regulations.

A discussion on the groundwater analytical results compared to the applicable criteria is included in Section 2.

# 2 Summary of Former WWTP Investigation

This section describes the methods for investigation, sample collection, results of the groundwater sampling, and analysis conducted in the vicinity of the former WWTP. Sampling and analysis was conducted in accordance with procedures outlined in the MDEQ approved PC Plan (O'Brien & Gere, 2006), MDEQ-approved July 13, 2009 Work Plan for the former WWTP and February 2006 QAPP developed for the RACER Trust Coldwater Road Landfill facility. The objective of the investigation was to assess the extent of total and dissolved manganese in groundwater at two off-site monitoring wells.

O'Brien & Gere completed investigation of the former WWTP in a phased approach following MDEQ approval of the July 13, 2009 Work Plan. The installation of monitoring wells was performed on October 10, 2011 and two subsequent groundwater sampling events were performed on November 4, 2011 and April 5, 2012.

## 2.1 Monitoring Well Installation

Two monitoring wells (OBG MW-9 and OBG MW-10) were installed in accordance with the PC Plan and MDEQ-approved Work Plan, dated July 13, 2009 at the locations depicted on Figure 3. The wells were installed to assess the potential extent of total and dissolved manganese in groundwater south of the former WWTP building and surrounding basins.

The two wells were installed to an approximate depth of 15 ft below grade (fbg). This well depth was estimated based on the bottom of the former basins and basement of the former WWTP building (approximately 15 fbg), the depth of previously installed groundwater monitoring wells (15 to 20 fbg) and the stratigraphy (specifically the depth of water bearing units) at the new well locations.

Prior to well installation, the drill rig and drillers' tools were decontaminated using a portable steam cleaner. Drilling and sampling was completed utilizing the hollow stem auger (HSA) drilling method. Soil samples were collected using a 5-ft macrocore split barrel through the 4.25-inch HSAs. The soils were visually logged using the USCS soil classification system. Soil boring logs are included in Appendix D. Cuttings were spread on the ground surface at the Coldwater Road landfill Site.

Monitoring wells were constructed using 2-inch diameter, flush-threaded PVC casing. The screen length for the wells was 10 ft with slot openings of 0.010 inches and a PVC plug on the bottom of the screen. The annular space around the screen was back-filled with silt free silica sand (WB 40 grade) to a height no more than 2 ft above the top of the screen. A minimum 2-ft thick seal of hydrated bentonite was placed above the sand pack. The remaining annular space was filled with a cement bentonite grout placed with a tremie pipe. The PVC risers were covered with a lockable, watertight PVC cap. A 4-inch diameter steel, locking, protective casing was installed at the surface with a concrete anchor and runoff diversion apron. Monitoring well construction details are included in Appendix E.

Once installed, the grout was allowed a minimum of 24 hours to cure, after which time the well was developed. Well development was performed using the pump and surge method. A minimum of five casing volumes were removed from the well or until the well was pumped to dryness. Development fluids were discharged to the ground surface near each well.

Subsequent to installation of the newly installed monitoring wells, the well locations were surveyed to establish top-of-casing, grade elevations, and horizontal locations referenced to existing State Plane datum.

## 2.2 Groundwater Sample Collection and Analysis

Subsequent to new well installation, groundwater samples were collected quarterly for two quarters (November 4, 2011 and April 5, 2012) using low-flow sampling methods per Attachment 5 of  RRD Operational Memorandum No. 2, and in accordance with the MDEQ-approved PC Plan and December 2006 Work Plan. Groundwater samples were collected from the two newly installed wells (OBG MW-9 and OBG MW-10) for the two quarters of sampling.

Samples collected from the two newly installed wells were analyzed for total and dissolved manganese. Prior to sampling, water within the well was purged using a submersible pump with dedicated tubing and physical parameters were monitored. During purging, specific conductivity, pH and temperature measurements were recorded to document stable conditions.

Subsequent to purging and immediately upon physical parameter stabilization within 10%, a groundwater sample was collected for total manganese analysis. Samples for dissolved metals analysis were filtered through a disposable 0.45-micron filter in the field. Pre-preserved (with HNO3) sample containers were provided by the laboratory for dissolved and total manganese analysis by Method 200.8. Quality assurance/quality control (QA/QC) samples were collected and analyzed in accordance with the QAPP for this site. QA/QC samples included an equipment blank, field blank, replicate sample, collected sample, matrix spike, and matrix spike duplicate. A Level III data package was requested from the laboratory.

## 2.3 Data Validation

Validation of the analytical data was performed by an independent consultant utilizing the "USEPA Contract Laboratory Program (CLP) National Functional Guidelines for Inorganic Data Review", USEPA 540-R 04 004, October 2004 (CLP National Functional Guidelines) and "USEPA CLP National Function Guidelines for Organic Data Review", USEPA-540/R-94-012 as a basis for data review establishing the specific objectives, defining the evaluation process and identifying the actions while incorporating the specific quality control limits presented in the QAPP and the laboratory standard operating procedures (SOP)s. The specific data qualifiers were used as presented and defined in the CLP National Functional Guidelines.

The following deliverables were evaluated in the data validation:

Technical holding times

Gas chromatograph/Mass spectrometer (GC/MS) instrument performance check (for organics analysis)

Initial calibration

Initial and continuing calibration

Blanks

Interference check samples

Laboratory control samples

Matrix duplicate sample analysis

Matrix spike sample analysis

Inductively Coupled Plasma (ICP) serial dilution

ICP/MS internal standard performance

Sample result verification

Field duplicates.

The Data Validator also evaluated the overall completeness of the data package. Completeness checks were administered on all data to determine whether deliverables specified in the QAPP were present. At a minimum, deliverables included sample chain of custody forms, analytical results, and QC summaries. Data validation results are discussed in Section 2.4.

## 2.4 Investigation Results

Groundwater samples were collected quarterly for two quarters using low-flow sampling methods per Attachment 5 of RRD Operational Memorandum No. 2, in accordance with the MDEQ-approved PC Plan and December 2006 Work Plan. In accordance with the December 2006 Work Plan, notifications to the MDEQ were made 2 weeks prior to each groundwater sampling event via the Monthly Progress Reports submitted under the Post-Closure activities at the Site. The following discussions summarize the results of the groundwater investigation.

### 2.4.1 Summary of Subsurface Conditions

This section describes the subsurface conditions observed based on the installation of the monitoring wells (shown on Figure 3) and previously installed borings at the former WWTP.

Generalized subsurface soil conditions at the former WWTP consist of a clay unit from the original ground surface to a depth of 30 ft below grade with sand lenses observed ranging in thickness from non-existent (OBG MW-8) to 5 ft (OBG MW-5). The elevations shown on Table 2.1 are from the 2008 Addendum Report. The current investigation indicates that the sand lenses are highly variable in elevation and thickness, signnifying a discontinuous perched zone condition at the former WWTP.

Table 2.1 Sand Lens Elevations (sources 2008 Addendum Report and current investigation)

| Well Location | Surface Elevation (NAVD 88) | Observed Sand Lense Elevation |
| --- | --- | --- |
| OBG MW-1 | 809.46’ | 798.46-796.46' |
| OBG MW-2 | 812.45’ | 806.95-805.45' and 799.45-796.45' |
| OBG MW-3 | 807.47’ | 802.97-799.97' |
| OBG MW-4 | 810.10’ | 797.85-797.35' |
| OBG MW-5 | 813.05’ | 809.05-804.05' |
| OBG MW-6 | 813.02’ | 798.44-798.27' |
| OBG MW-7 | 810.23’ | 805.65-805.23' and 795.23-794.23' |
| OBG MW-8 | 814.72’ | no sand lens observed |
| OBG MW-9 | 806.94’ | 800.94’-799.94’ |
| OBG MW-10 | 808.70’ | 808.20’-796.20’ |

Sand lenses were observed in nine of the ten borings (OBG MW-1 through OBG MW-10) completed as monitoring wells under the May 2007 investigation and the recent current investigation at the former WWTP. These locations are separated by previously installed borings in which a sand lens of the same elevation was not observed indicating the sand lenses are discontinuous in the vicinity of the former WWTP. A geologic cross section depicting the discontinuous sand lenses in the perched zone at the former WWTP area is included as Figure 4.

Following demolition of the former manufacturing building, approximately 3-4 ft of sand fill was placed over the former WWTP building and basins.

### 2.4.2 First Quarter Groundwater Sampling Results

Analytical results for the first quarter groundwater sampling event (November 4, 2011) indicated detections of total and dissolved manganese at OBG MW-9 of 0.565 mg/l and 0.570 mg/l, respectively, which are below the site-specific background values for dissolved  manganese (0.708 mg/l). Also, analytical results for OBG MW-10 indicated detections of total and dissolved manganese of 3.56 mg/l and 3.69 mg/L, respectively, which are above Part 201 Health Based Drinking Water Criterion (2.50 mg/l). A figure depicting exceedances of site-specific background values and/or Part 201 Non-Residential Drinking Water values for the first quarter groundwater sampling event is included as Figure 5.

Table 1 summarizes the first quarter groundwater analytical results. The first quarter groundwater analytical results were validated and the overall data usability was found to be 100%.  The data validation report (including analytical data sheets) for this sampling event is included in Appendix F.

Groundwater level data were collected from the wells sampled during the first quarter groundwater sampling event. A table with the water levels and groundwater elevations is included as Table 2.

### 2.4.3 Second Quarter Groundwater Sampling Results

Analytical results for the second quarter groundwater sampling event (April 5, 2012) indicated detections of total and dissolved manganese at OBG MW-9 of 0.591 mg/l and 0.562 mg/l, respectively, which are below the site-specific background values for dissolved manganese (0.708 mg/l). Also, analytical results for OBG MW-10 indicated detections of total and dissolved manganese of 2.62 mg/l and 2.57 mg/l, respectively, which are above Part 201 Health Based Drinking Water criterion (2.50 mg/l). A figure depicting exceedances of Site-Specific Background values and/or Part 201 Non-Residential Drinking Water values for the second quarter groundwater sampling event is included as Figure 5.

Table 1 summarizes the second quarter groundwater analytical results. The second quarter groundwater analytical results were validated and the overall data usability was found to be 100%.  The data validation report (including analytical data sheets) for this sampling event is included in Appendix G.

Groundwater level data were collected from the wells sampled during the second quarter groundwater sampling event. Groundwater level data were also collected from the eight previously installed wells (OBG MW-1 through OBG MW-8) as part of the second quarter groundwater sampling event. Table 2 lists water levels and groundwater elevations. Figure 6 depicts the groundwater elevations.

### 2.4.4 Site-Specific Background Value for Manganese

As noted in Section 1.5 of this Report, a new site-specific background value for manganese was calculated in accordance with MDEQ’s request of 95% UTL with 95% coverage using the ProUCL program with the removal of the B-9 well data. The new background calculation using the MDEQ requested method yields a background value of 0.708 mg/l for dissolved manganese at the former WWTP. A copy of the ProUCL output and data set used for the background calculation for dissolved manganese is included in Appendix C. This new background value is the criterion in which the concentrations of dissolved and total manganese detected in groundwater will be compared to for delineating the extent of manganese impact at the former WWTP pursuant to Part 201 regulations. Total recoverable manganese concentrations in groundwater will be compared to this background value due to an insufficient data set to develop a separate background value for total manganese. MDEQ RRD Operational Memorandum No. 2- Attachment 5 (Collection of Samples for Comparison to Generic Criteria) indicates groundwater inorganic constituents must be measured as totals for site investigation under Part 201. Therefore, as a conservative measure, the total manganese concentrations will be compared to the dissolved manganese site-specific background values for delineation purposes.

Groundwater analytical results from two quarters of groundwater sampling, along with previous groundwater analytical results, document that the manganese impact at the former WWTP has been assessed to the newly developed site-specific background value. Figure 7 depicts the highest concentrations of total and dissolved manganese concentrations detected in groundwater at the former WWTP and the well locations (OBG MW-4, OBG MW-5, OBG MW-6, OBG MW-7 and OBG MW-9) which delineate the manganese impact at the former WWTP.

# 3 Migration Pathway Evaluation

Based on the benzene, 1,2,4-trimethylbenzene, trichloroethene, nickel and cyanide exceedances of the MDEQ Part 201 Generic Non-Residential Drinking Water Protection Criteria and the arsenic, iron, lead, manganese and cyanide exceedances of the Part 201 Generic Non-Residential Drinking Water Criteria, a migration pathway analysis was performed.

In accordance with the NREPA, 1994 PA 451, as amended Part 201 (Environmental Remediation), Mich. Admin. Code Rule 299, compliance for Generic site closures are attained when chemical concentrations in soil and groundwater are below applicable values for migration pathways pertinent to the site. The following sections summarize pertinent migration pathways at the former WWTP. The COCs (defined as those compounds above appropriate Part 201 Generic Residential criteria) at the former WWTP are:

| Soil | Groundwater |
| --- | --- |
| Benzene | Arsenic |
| Cyanide | Cyanide |
| Nickel | Lead |
| 1,2,4- trimethylbenzene | Iron |
| Trichloroethene | Manganese |

## 3.1 Migration Pathway Evaluation

The migration pathways applicable to soil impact at the former WWTP were addressed in the November 2000 Basin Investigation Report; the migration pathways applicable to groundwater impacts for arsenic, cyanide, and lead, were addressed in the 2008 Addendum Report; and delineation of iron in groundwater was addressed in the July 13, 2009 response to comments. Therefore, the following evaluation addresses the pertinent groundwater remaining migration pathways for manganese.

The pertinent migration pathways associated with the former WWTP are:

Migration to groundwater in an aquifer based on ingestion

Soil leaching of hazardous substances into groundwater

Migration from groundwater to surface water

Discharge to surface water from storm sewers

Dermal contact with groundwater (utility worker exposure).

Each pertinent migration pathway evaluation for the former WWTP is discussed below:

Migration to groundwater in an aquifer based on ingestion.  In accordance with Mich. Admin. Code Rule 299.5710, exposure to groundwater by ingestion may be considered a relevant pathway for groundwater that satisfies either of the following conditions: 1) The groundwater is in an aquifer. 2) The groundwater is not in an aquifer, but can reasonably be expected to transport a hazardous substance into an aquifer in a concentration that exceeds the generic residential criteria.

Based on the investigation results, the water observed in the sand lenses at the former WWTP in the perched zone is likely not contained within in an aquifer. Permeability tests of wells installed at the Coldwater Road site have indicated permeabilities within the shallow perched zone of 10-7 to 10-6 cm/sec. It is estimated that a well tapping the perched zone would have a yield ranging from 6 to 60 gallons per day. This range in well yield for the perched zone has been verified by the permeability tests conducted on the soil samples from the proposed landfill. Furthermore, vertical permeabilities for the perched zone ranged from 3.5 x 10-7 cm/sec to 2.1 x 10-8 cm/sec (The Chester Engineers, 1986). Based on this information the perched zone is not capable of producing usable quantities of water analogous with an aquifer.

Deep soil borings installed on site near the landfill indicate the subsurface geology includes a clay till aquitard approximately 47.5 ft thick (former MW-23D located south of the landfill). This aquitard appears to be continuous across the Coldwater Road Landfill Site, and was observed at the former WWTP area.

Also, the differences in the flow direction, gradients, and water levels between the perched zone and drift aquifer make it apparent that there is little, if any, connectivity between the perched zone and drift aquifer (Dames & Moore, June 1980).

These conclusions suggest that movement of water from the perched zone to the drift aquifer is unlikely. It is also unlikely that chemical concentrations detected in the groundwater at the former WWTP could migrate vertically to the usable aquifer in concentrations exceeding Part 201 Generic Residential Drinking Water Criteria.

The results of groundwater sampling at the former WWTP indicate manganese concentrations are below Part 201 Health Based Drinking Water Criterion of 2.5 mg/l except for well OBG MW-3, which previously exhibited concentrations of total manganese of 5.08 mg/l (December 11, 2007) and 5.05 mg/l (March 18, 2008) mg/l.  Therefore, the site deed restriction will be expanded to prohibit use of the groundwater at the entire Coldwater Road Landfill Site, including the former WWTP area. The current Declaration of Restrictive Covenant prohibits the construction of wells or other devices to extract groundwater for consumption, irrigation, dewatering or any other use at two areas of the Coldwater Road Landfill Site: the RMA and the landfill.

With the filing of the Declaration of Restrictive Covenant, the former WWTP is in compliance with Part 201 Generic Non-Residential standards for the migration of groundwater to an aquifer based on the ingestion exposure pathway.

Soil leaching of hazardous substances into groundwater. In accordance with Mich. Admin. Code Rule 299.5722, to assure that soils do not pose a threat of aquifer contamination, the concentration of the hazardous substance in soil shall be below that which produces a concentration in leachate that is equal to the least restrictive of the applicable groundwater criteria. The cleanup criteria protective of groundwater may be determined by; soil leachate analysis, comparing the concentration in soil to Part 201 Generic Non-residential Drinking Water Protection Criteria, or by other methods that demonstrate impact to soil will not result in applicable groundwater criteria being exceeded (e.g., groundwater data comparisons to criteria).

Since the former WWTP soil impacts could not be investigated through soil sample collection and analysis,  MDEQ permitted monitoring wells to be installed in close proximity to soil impacts and collection and analysis of groundwater to assess the potential for soil impacts leaching to groundwater as an acceptable method for assessing this migration pathway. A previous investigation (2008 Addendum Report) indicated manganese levels near the property boundary (OBG MW-3) exceeded the site-specific background level and Part 201 Health Based Drinking Water Criterion. The results of the quarterly groundwater sampling indicated that concentrations of total and dissolved manganese are below both the site-specific background value and Part 201 Non-Residential Health Based Drinking Water Criterion at OBG MW-9 (south of OBG MW-3), delineating this impact.

Groundwater at the site is not used for drinking water. Additionally, upon approval of this 2013 Addendum Report, RACER will supplement the Declaration of Restrictive Covenant for the site and file the supplement with the Genesee County Register of Deeds, restricting potential future groundwater use for the entire Coldwater Road Landfill Site.

Currently institutional controls (Declaration of Restrictive Covenant form recorded on June 24, 2005) at the site restrict the installation of wells at a limited area of the site for drinking water purposes. Therefore, potential exposure associated with the soil leaching to groundwater pathway will be mitigated based on supplementing the Declaration of Restrictive Covenant restricting use of groundwater at the entire site for drinking water. With the filing of the Declaration of Restrictive Covenant supplement, the former WWTP will be in compliance with Generic Non-Residential standards for the soil leaching of hazardous substances into groundwater pathway.

Groundwater to surface water. In accordance with Mich. Admin. Code Rule 299.5716, COCs in groundwater at the surface water interface must be no greater than the Part 201 Generic Non-Residential Groundwater-Surface Water Interface (GSI) Criteria. The surface water receptor (wetlands) on the property (the nearest surface water body- depicted on Figure 2) is located approximately 2,000 ft north of the former WWTP. The onsite wetlands are not used as a human drinking water source, thus, the criteria for the GSI Human Non-Drinking Water Value is applicable.

Total and dissolved manganese concentrations in groundwater are below Part 201 GSI Human Non-Drinking Water value. Based on the chemical characteristics for inorganics (low mobility), the unlikely transport mechanism for groundwater (non-continuous perched zone) and the potential for considerable dilution before groundwater reaches the nearest surface water body, it is unlikely the detected compounds would reach the nearest surface body of water in concentrations above GSI criteria. Therefore, the site is in compliance with Generic Non-Residential standards for the migration to surface water pathway.

Discharge to surface water from storm sewers. MDEQ regulations require that storm sewers must be addressed as a potential preferential pathway when evaluating the GSI migration pathway (GSI). The nearest storm sewer underground utility line (shown on Figure 5) is located approximately 80 ft east of the former WWTP. Based on the subsurface geology in this area, the chemical characteristics for the inorganics (low mobility) and the distance to the nearest storm sewer line, it is unlikely the discontinuous sand lenses containing water are connected to the sewer line corridor. Thus there does not appear to be a migration pathway from the sand lenses at the former WWTP to the nearest storm sewer line.

Therefore, the former WWTP is in compliance with Generic Non-Residential standards for the GSI migration pathway via storm sewers.

Dermal contact with groundwater (utility worker exposure). In accordance with Mich. Admin. Code Rule 299.5712, exposure to dermal contact shall apply when contaminated groundwater is, or will be as a result of migration of groundwater contamination, encountered at a depth where construction or maintenance of utilities or other subsurface activities may reasonably be expected to result in persons coming into contact with the groundwater.

The analytical results for the groundwater samples collected at the former WWTP indicate concentrations of manganese are below Part 201 Generic Non-Residential Contact criteria. Therefore, the former WWTP is in compliance with the Generic Non-Residential standards for the dermal contact with groundwater pathway.

Based on the above summary, and upon supplementing the MDEQ-approved Declaration of Restrictive Covenant restricting resource use at the entire site, Limited Non-Residential compliance is achieved for the former WWTP.

# 4 Conclusions

This Addendum Report supplements the June 1999 Final Certification Closure Report and the 2008 Addendum Report for the former WWTP at the RACER Coldwater Road Landfill facility in Flint, Michigan. The former WWTP falls under the CACO for the RACER Coldwater Road Landfill facility pursuant to NREPA Part 111 as a contiguous facility.

At the request of MDEQ, an additional groundwater investigation was performed at the former WWTP to evaluate the detected concentrations of manganese in groundwater at the former WWTP. A Work Plan with proposed groundwater sampling methodology, monitoring well investigation locations and site-specific background values developed for iron and manganese, was submitted to the MDEQ on July 13, 2000. This Work Plan was approved by MDEQ in a letter dated September 26, 2011. The Work Plan was implemented from October 10, 2011 through May 2012.  Implementation of the Work Plan supported the demonstration of manganese impacts to groundwater was delineated.

An evaluation of pertinent migration pathways at the former WWTP concluded that compliance with Generic Non-Residential cleanup criteria is achieved for this area following supplementing the current Declaration of Restrictive Covenant to restricting groundwater use at the entire site. Based on the results of investigation activities and the migration pathway evaluation presented herein, closure of the former WWTP pursuant to NREPA Part 111 is achieved.

Post-closure activities associated with the landfill are continuing in accordance with the Post-Closure Plan. Following MDEQ approval of closure, RACER anticipates implementing a supplemental Declaration of Restrictive Covenant and establishing a post-closure operating license for the RACER Coldwater Road Landfill facility. Once the post closure operating license is established, RACER will request termination of the CACO.

# 5 References

Conestoga-Rovers & Associates, November 30, 2000, RCRA Facility Investigation (RFI) Report Former Peregrine (US), Inc. Coldwater Road Facility Genessee Township, Michigan (USEPA ID# MIR000020743).

Conestoga-Rovers & Associates, April 24, 2003, Groundwater Not In An Aquifer (GWNIAA) Evaluation Report Former Peregrine (US), Inc. Coldwater Road Facility Genessee Township, Michigan (USEPA ID# MIR000020743).

Conestoga-Rovers & Associates, March 31, 2000, Description of Current Conditions Report Former Peregrine (US), Inc. Coldwater Road Facility Genessee Township, Michigan (USEPA ID# MIR000020743).

Dames & Moore,1980. Hydrogeological Investigation-Coldwater Road Plant Waste Management Area., Flint, Michigan.

General Motors Corporation, March 1992, Corrective Measures Study.

Michigan Department of Environmental Quality, February 7, 1996, Redesignation Approval for General Motors Corporation, Delphi Interior & Lighting Systems.

Michigan Department of Environmental Quality, September 23, 1997, Closure Plan Modification Request, General Motors Corporation, Coldwater Road Facility, Flint, Michigan MID 005 356 860.

Michigan Department of Environmental Quality, March 26, 1998, Letter of Warning, Financial Capability and Closure of former Drum Storage Area, Peregrine U.S., Inc. Flint Plant; MIR 000 020 743.

Michigan Department of Environmental Quality, June 27, 2000, Closure Plan Amendment Approval, General Motors/REALM, Coldwater Road facility, Flint, Michigan.

Michigan Department of Environmental Quality, April 19, 2002, Sampling Plan for former Drum Storage Area and Waste Pile Pad, REALM Coldwater Road Landfill, MIR 000 020 743.

Michigan Department of Environmental Quality, March 24, 2005, Final Closure Certification Documentation REALM Coldwater Road Landfill; MID 005 356 860.

O'Brien & Gere Engineers, Inc., August 1989, Closure Plan and Post-Closure Plan, General Motors Corporation, Fisher Guide Division, Flint, Michigan.

O'Brien & Gere Engineers, Inc., October 1994, Delisting Petition Work Plan, Inland Fisher Guide Division of General Motors Corporation, Flint Coldwater Plant, Flint, Michigan.

O'Brien & Gere Engineers, Inc., January 1995, Delisting Petition, Inland Fisher Guide Division, General Motors Corporation, Flint Coldwater Road Plant, Flint, Michigan.

O'Brien & Gere Engineers, Inc., April 1997, Closure Plan Modification Request, Coldwater Road, Flint, Michigan.

O'Brien & Gere Engineers, Inc., June 1999, Subsurface Investigation of Decontamination Pits/Sump and Chromium Reduction Basins Coldwater Road, Flint, Michigan.

O'Brien & Gere Engineers, Inc., February 16, 2000, former Drum Storage Area Closure Plan and Closure Plan Amendment, GM/REALM Coldwater Road Facility, Flint, Michigan- EPA MIR 000 020 743.

O'Brien & Gere Engineers, Inc., November 2000, Part I Final Closure Certification Documentation, REALM Coldwater Road Facility, 6220 Horton Street Flint, Michigan (MID 005356860).

O'Brien & Gere Engineers, Inc., November 2000, Former Wastewater Treatment Plant Basin Investigation, Coldwater Road Facility, Flint, Michigan.

O'Brien & Gere Engineers, Inc., February 2004, Former Drum Storage Area Work Plan, Coldwater Road facility, Flint, Michigan- EPA I.D. No. MIR 000 020 743.

O’Brien & Gere Engineers, Inc., January 2005, Addendum to the June 1999 Closure Certification Report for the Former Drum Storage Area at the Former Peregrine, U.S., Inc. Property at the Coldwater Road Facility.

O'Brien & Gere Engineers, Inc., December 2006, Former Wastewater Treatment Plant Work Plan, Coldwater Road facility, Flint, Michigan- EPA I.D. No. MID 005 356 860.

O'Brien & Gere Engineers, Inc., Quality Assurance Project Plan, Former Wastewater Treatment Plant, May 2007, Coldwater Road Landfill, Flint, Michigan- EPA I.D. No. MID 005 356 860.

O'Brien & Gere Engineers, Inc., September 2008, Addendum to the June 1999 Closure Certification Report for the Former Wastewater Treatment Plant at the Coldwater Road Facility.

ProUCL 4.1.01. A Statistical Software for Environmental Applications for Data Sets with and without nondetect observations. National Exposure Research Lab, EPA, Las Vegas, Nevada, May 2010.

State of Michigan, Department of Natural Resources, September 7, 1989, GMC Fisher Guide, Coldwater Road Closure Plan, MID 005 356 860.

State of Michigan, Department of Natural Resources, Waste Management Division, October 29, 1992, Corrective Action Consent Order General Motors Corporation, Inland Fisher Guide Division, G1245 East Coldwater Road, City of Flint, County of Genessee, State of Michigan.

Roy F. Weston, Inc., November 1994, Draft Closure Certification Documentation Package, Inland Fisher Guide Division, General Motors Corporation Surface Remediation Project Coldwater Road Plant, Flint, Michigan (EPA ID No. MID 005356860).

Roy F. Weston, Inc., September 1998, Final Closure Certification Documentation Package, Decontamination Pits and Sump, Chromium Reduction Basins at the WWTP, Surface Remediation Project, Coldwater Road Plant, Flint, Michigan (EPA I.D. No. MID 005356860).

Roy F. Weston, Inc., June 1999, Closure Certification Documentation Package for the former Drum Storage Area and Waste Pile Pad, Former GMC Inland Fisher Guide Coldwater Road Plant, Flint, Michigan (EPA ID No. MID 005356860).

Roy F. Weston, Inc., November 2000, Part II Final Closure Certification Documentation, Surface Remediation Project, Coldwater Road Plant, Flint, Michigan (EPA I.D. No. MID 005356860).

USEPA 2010, ProUCL Version 4.1.00 Technical Guide, Statistical Software for Environmental Applications for Data Sets with and without Nondetect Observations